## Notice
Electric Vehicle (EV) Charging Station Site Suitability Criteria Tool | Version Date: | 2016-10-04
This tool is designed to help compare the suitability and viability for installing AC Level 1 or 2 EV charging stations (used by plug-in hybrid electric vehicles [PHEV] and all-electric battery electric vehicles [BEV]) in various locations, but primarily for sites with public access. DC fast charging can quickly replenish an EV's battery (~80% charge in 20 minutes) but are very costly which would limit their installations to sites with convenient EV access for short charge durations and sufficient electrical power capacity. Every location is unique and it is not possible to accurately account for all circumstances. The ratings are based on best practices and analysis of prior EV charging station installations. The tool is best used to compare relatively similar sites (e.g., public access locations in the same county), installation approaches (e.g., commercial AC level 2 stations), and criteria importance (i.e., value to EV drivers, cost, exposure).
This tool was prepared by the Ithaca Tompkins County Transportation Council and Energetics Incorporated (hereafter the "Contractors") in the course of performing work contracted for and sponsored by the New York State Energy Research and Development Authority (hereafter the "Sponsor"). The opinions expressed in this tool do not necessarily reflect those of the Sponsor or the State of New York, and reference to any specific product, service, process, or method does not constitute an implied or expressed recommendation or endorsement of it. Further, the Sponsor, the State of New York, and the Contractors make no warranties or representations, expressed or implied, as to the fitness for particular purpose or merchantability of any product, apparatus, or service, or the usefulness, completeness, or accuracy of any processes, methods, or other information contained, described, disclosed, or referred to in this tool. The Sponsor, the State of New York, and the Contractors make no representation that the use of any product, apparatus, process, method, or other information will not infringe privately owned rights and will assume no liability for any loss, injury, or damage resulting from, or occurring in connection with, the use of information contained, described, disclosed, or referred to in this tool.
Select the worksheet named "Tool" to get started, answering all questions to the best of your ability

## Tool
Electric Vehicle (EV) Charging Station Site Suitability Criteria Tool |  | Version Date: | 2016-10-04
Site Name:
Address:
Site Suitability Factor Importance
1. How important are the following factors to the site owner for an EV charging station installation?
Likely to be used by Current EV Drivers:
Marketing for Potential EV Buyers:
Positive Image for the Organization:
Purchase and Installation Cost:
Site Ownership and Zoning
2. Do you own or lease the parking lot where the EV charging station will be installed?
Owning the parking lot simplifies the EV charging station installation process
3. Do you own or lease the building where electricity will be drawn for the EV charging station?
Owning the building and paying the electricity bill simplifies the EV charging station installation process
4. What is the predominant land use for the EV charging station site?
Installing a public EV charging station in a business district should be allowed in all jurisdictions
Site Location and Surounding Environment
5. Which venue best describes the proposed EV charging station location?
This is a good location for employees of a business or office, but use by visitors would depend on the type of client served by that organization
6. How long do drivers typically park their vehicles at this location?
Most AC Level 2 stations will provide less than 20 miles of additional electrical range during this period which may be valuable for some EV drivers, but likely still too short for many
7. Is this location used for any special event parking?
There will be no increased exposure of the charging station for special events, but charging station use is typically influenced more by regular users than occasional users
8. How far is this location from a busy road used to travel between cities (typically an interstate, US highway, or State route)?
This location would likely be significantly less convenient for and have much less exposure to EV drivers traveling between cities
Expected EV Charging Station Users and Accessibility
9. Which potential EV drivers are expected to use the charging station?
Stations accessible to the general public would likely see the most fluctuation in use and not serve any individual EV drivers on a regular basis
10. Would an EV driver require a permit, sticker, or card to access the parking lot where the charging station is located?
Visitors or the general public will use a station more when there aren't additional restrictions, but it might also allow non-employees to use stations designed for only their use
11. Is there a fee to access the parking lot where the charging station would be located or would there be a fee to use the charging station?
Visitors or the general public will use a station more when there are no costs to access or use the station and the host might find that the benefit of attracting EV drivers is more valuable than collecting fees
12. Would the charging station be located in a parking lot or garage with limited hours of operation?
Visitors or the general public will use a station more when there aren't additional restrictions to access the station
Parking Lot or Garage Characteristics
13. How many parking spaces are in the lot or garage?
Larger parking lots or garages should have less concerns about reserving 1 or 2 spaces for EV charging and have a large enough population of cars to ensure some would be EVs
14. Typically, how full is the parking lot or garage?
Parking lots that experience full capacity have a greater likelihood that conventional cars would park in charging spaces or become aggravated that charging spaces are empty and taking up valuable space
15. Is there fluctuation in parking lot use by season?
Consistent use of the parking lot or garage will likely lead to regular charging station users and good exposure to others
16. Is there fluctuation in parking lot use by day of the week?
Consistent use of the parking lot or garage will likely lead to regular charging station users and good exposure to others
17. Would the EV charging station be mounted on the wall of a building where the cord could run to the EV and not interfere with a pedestrian walkway?
Installation costs can be significantly lower if the EV charging station can be mounted on a building and no trenching in a parking lot is required
18. Is the parking lot paved?
Trenching and repairing a paved parking lot for a charging station placed away from a building is more costly
19. Is the parking lot prone to flooding or other events that might damage a charging station or plugged-in EV?
While all areas are susceptible to an occasional severe weather event, as long as this parking lot is not especially prone to them, the station should hold up well and be used by EV drivers
20. Would the EV charging station be located in a covered parking space?
Although not necessary, shading and protection from the weather is more desirable for EV drivers and may provide better protection for the charging station
21. Would the EV charging station need to be placed where it would obstruct plowing or in a location where snow is stored in the winter?
Proper station placement can help reduce potential damage, maintenance requirements, and ensure access for EV drivers in all weather conditions
22. Would the EV charging station be in a preferred parking space?
To reduce costs, the charging station might be placed along the side or in back of the building, but that be inconvenient to the EV driver and harder to find if there isn't good signage
23. Are there lights illuminating the parking lot at night?
A lit parking lot is safer for EV drivers to use at night and there may be potential for using the same electric source powering the lights for AC Level 1 charging
24. Would the EV charging station and parking space be visible from the road or entrance to the parking lot or garage?
An easily visible charging station is valuable by increasing exposure to all drivers and helps EV drivers locate it easily when they need a charge, however it is still good practice to identify the station with signage
Existing Electrical Infrastructure
25. Does the existing electrical panel have 4 extra slots and 80 amps of available capacity for a dual port Level 2 charging station?
Most commercial buildings will have the available electrical capacity for one dual port Level 2 charging station, but a subpanel may be needed if there aren't available slots in the panel for more breakers
26. How recently has major electrical work been performed at this location?
The existing electrical system should be up to code and no additional electrical infrastructure cost should be required when adding the charging station
27. How far is the electrical panel from the point of the building closest to where the charging station would be located?
Short electrical runs require less materials and are easier to install which results in low costs
EV Charging Station Selection
The most common charging station type for commercial settings is AC Level 2, which operates on 240 VAC and will result in 10 to 20 miles of added electrical range per hour of charging time. This is appropriate when EVs can charge for 1-4 hours. Most EVs parked for longer than 4 hours would occupy the station longer than they need to charge. An AC Level 1 charging station that operates on 120 VAC and provides 2-5 miles of added electrical range per hour of charging might be more appropriate for settings where EVs are parked for 6 hours or longer at a time. AC Level 1 charging stations are less expensive and require less than half of the required electrical demand of AC Level 2 charging stations. However, AC Level 1 charging stations are very basic and don't offer networked features such as energy monitoring, payment, reservations, host notifications, and other useful tools to help manage the station use.
28. Which EV charging station type would be installed at this location?
AC Level 2 charging stations, which operate on 240 VAC and result in 10 to 20 miles of added electrical range per hour of charging time, are most appropriate when EVs park for 1-4 hours
29. Could the EV charging station be mounted to an existing structure or be installed as a stand-alone pedestal?
Mounting the charging station on an existing structure can lower the purchase and installation costs, but the structure must be sturdy enough and located in a convenient location close to the parking space
30. Would the charging station be networked and connected to a charging management company's software platform?
A networked station can lock the connector when not in use, monitor use, impose a fee for charging, notify the owner of issues, and automatically appears on station locator maps, but requires an annual subscription
i
Value to EV Drivers (expected use)
Marketing & Image
Installation Costs
Overall Site Suitability Score
(2)
Own
Lease
Equipment Costs
(1A)
(1B)
(1C)
(1D)
Not at All Important
Slightly Important
Important
Very Important
Most Important
Not at All Important
Slightly Important
Not at All Important
Important
Very Important
Most Important
Slightly Important
Important
Very Important
Most Important
Not at All Important
Slightly Important
Important
Very Important
Most Important
i
(3)
Own
Lease
i
(4)
Residential
Business
Industrial
Institutional
i
(5)
Business/Office
Educational Services
Hotel
Medical Facility
Park/Recreational Facility
Multi-dwelling Unit
Transportation Hub
Municipal Lot or Garage
On-street Parking
i
(6)
Less than 1 hour
1 - 2 hours
2 - 4 hours
4 - 8 hours
More than 8 hours
i
(7)
Yes
No
i
(8)
On a State Road
0.1 - 0.5 miles
0.5 - 1 mile
1 - 2 miles
2 - 5 miles
More than 5 miles
i
(9)
Employees
Visitors
General Public
All
i
(10)
Yes
No
i
(11)
Only a fee to access the parking lot
Only a fee to use the charging station
i
(12)
Yes
No
i
(13)
Fewer than 10
10 - 25
25 - 50
More than 50
i
(14)
25%
50%
75%
100%
i
(15)
Minimal Fluctuation
Some Fluctuation
i
(16)
Minimal Fluctuation
Some Fluctuation
A lot of Fluctuation
A lot of Fluctuation
i
(17)
Yes
No
i
(18)
Yes
No
i
(19)
Yes
No
i
(20)
Yes
No
i
(21)
Yes
No
i
(22)
Yes
No
i
(23)
Yes
No
i
(24)
Yes
No
i
(25)
Yes
No
Don't Know
i
(26)
Within 10 years
Within 20 years
More than 20 years ago
Don't know
i
(27)
Fewer than 10 feet
10 - 50 feet
50 - 100 feet
More than 100 feet
i
(28)
AC Level 2
AC Level 1
i
(29)
Mounted on an Existing Structure
Stand-alone Pedestal
i
(30)
Networked
Non-networked
Retail Outlet
Entertainment Facility
Restaurant
Other
Fee to access the parking lot AND to use the charging station
No fees for access or use
Components Contributing to the Overall Site Suitability Score
General Site Suitability
Government
Other

## Calculations (hidden)
Electric Vehicle (EV) Charging Station Site Suitability Criteria Tool | [11 empty] | Version Date:
2016-10-04
|  | Overall Score |  |  |  | Maximum Possible Points = | 100 | 100 |  |  | Readout | Marker
[6 empty] | Minumum Possible Points = | 3.125 | 0 |  | Readout Bar | 72.6452
[6 empty] | Total Actual Points = | 73.5 | 72.6452 |  | Marker |  | 72.6452
1. How important are the following factors to the site owner for an EV charging station installation? | [8 empty] | Weighted Criteria Section Scoring
[9 empty] | General Site Suitability |  | 25%
Likely to be used by Current EV Drivers: |  |  | 3 |  | Value | Answer |  |  | Value to EV Drivers |  | 25%
Marketing for Potential EV Buyers: |  |  | 3 |  | 1 | Not at all Important |  |  | Marketing & Image |  | 25%
Positive Image for the Organization: |  |  | 3 |  | 2 | Slightly Important |  |  | Costs |  | 25%
Purchase and Installation Cost: |  |  | 3 |  | 3 | Important |  |  | Weighted Cost Scoring |  | Within Costs | Overall
|  | Total after averaging Marketing & Image | 9 |  | 4 | Very Important |  |  | Installation Costs |  | 66.67% | 16.67%
[5 empty] | 5 | Most Important |  |  | Station Costs |  | 33.33% | 8.333%
General Site Suitability | [5 empty] | Maximum Section Possible Points = | 25 | 100 |  |  | Readout | Marker
Section Weight = | 25% |  |  |  |  | Minumum Section Possible Points = | 0 | 0 |  | Readout Bar | 100
[6 empty] | Section Actual Points = | 25 | 100 |  | Marker |  | 100
Weighted Question Scoring within Criteria Section | [7 empty] | Total | 100%
2. Do you own or lease the parking lot where the EV charging station will be installed? | [8 empty] | 25%
3. Do you own or lease the building where electricity will be drawn for the EV charging station? | [8 empty] | 20%
4. What is the predominant land use for the EV charging station site? | [8 empty] | 10%
13. How many parking spaces are in the lot or garage? | [8 empty] | 15%
19. Is the parking lot prone to flooding or other events that might damage a charging station or plugged-in EV? | [8 empty] | 15%
20. Would the EV charging station be located in a covered parking space? | [8 empty] | 5%
21. Would the EV charging station need to be placed where it would obstruct plowing or in a location where snow is stored in the winter? | [8 empty] | 10%
2. Do you own or lease the parking lot where the EV charging station will be installed?
Question Weight (within Section) | 25% | Max Points | 6.25 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 6.25 | Min Points | 0 |  | 1 | Own | 100% | 6.25 | Owning the parking lot simplifies the EV charging station installation process
Selected Answer | 1 | Selected Points | 6.25 |  | 2 | Lease | 0% | 0 | A leased parking lot will require an agreement with the owner which adds complications but is still feasible
3. Do you own or lease the building where electricity will be drawn for the EV charging station?
Question Weight (within Section) | 20% | Max Points | 5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 5 | Min Points | 0 |  | 1 | Own | 100% | 5 | Owning the building and paying the electricity bill simplifies the EV charging station installation process
Selected Answer | 1 | Selected Points | 5 |  | 2 | Lease | 0% | 0 | A leased building or sub metered electricity will require an agreement with the owner which adds complications but is still feasible
4. What is the predominant land use for the EV charging station site?
Question Weight (within Section) | 10% | Max Points | 2.5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 2.5 | Min Points | 0 |  | 1 | Residential | 0% | 0 | Public EV charging stations are not typically placed in residential neighborhoods except when used at multi-dwelling units and may require special permission
Selected Answer | 2 | Selected Points | 2.5 |  | 2 | Business | 100% | 2.5 | Installing a public EV charging station in a business district should be allowed in all jurisdictions
[5 empty] | 3 | Industrial | 75% | 1.875 | EV charging stations should be permitted in an industrial zone, especially for employee use, but may require special permission if there is a fee to use it
[5 empty] | 4 | Institutional | 100% | 2.5 | Installing a public EV charging station at an institution (such as a university or medical campus) should be allowed in all jurisdictions
[5 empty] | 5 | Government | 75% | 1.875 | EV charging stations should be permitted at government property, but may require additional levels of approval by elected officials
[5 empty] | 6 | Other | 50% | 1.25 | Other zoned districts, such as historic or special use, may require special permission to install an EV charging station
13. How many parking spaces are in the lot or garage?
Question Weight (within Section) | 15% | Max Points | 3.75 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 3.75 | Min Points | 0 |  | 1 | Fewer than 10 | 0% | 0 | Parking spaces are likely at a premium in this lot and may cause an issue to have 1 or 2 parking spaces reserved for EVs to charge
Selected Answer | 4 | Selected Points | 3.75 |  | 2 | 10 - 25 | 25% | 0.9375 | This is a small number of parking spaces for a public lot, which likely means less demand for parking and less likelihood to have EVs looking for a charge unless the demographic aligns well with the typical EV owner
[5 empty] | 3 | 25 - 50 | 75% | 2.8125 | This is likely enough parking spaces that 1 or 2 EV charging spaces will not create an issue, but may not experience a large enough population of cars to ensure some would be EVs
[5 empty] | 4 | More than 50 | 100% | 3.75 | Larger parking lots or garages should have less concerns about reserving 1 or 2 spaces for EV charging and have a large enough population of cars to ensure some would be EVs
19. Is the parking lot prone to flooding or other events that might damage a charging station or plugged-in EV?
Question Weight (within Section) | 15% | Max Points | 3.75 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 3.75 | Min Points | 0 |  | 1 | Yes | 0% | 0 | This is a concern for potential damage to the station or vehicles that are charging and may lead to costly repairs or resistance from EV drivers to use this charging station
Selected Answer | 2 | Selected Points | 3.75 |  | 2 | No | 100% | 3.75 | While all areas are susceptible to an occasional severe weather event, as long as this parking lot is not especially prone to them, the station should hold up well and be used by EV drivers
20. Would the EV charging station be located in a covered parking space?
Question Weight (within Section) | 5% | Max Points | 1.25 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 1.25 | Min Points | 0 |  | 1 | Yes | 100% | 1.25 | Although not necessary, shading and protection from the weather is more desirable for EV drivers and may provide better protection for the charging station
Selected Answer | 1 | Selected Points | 1.25 |  | 2 | No | 0% | 0 | Most EV charging stations are installed in open lots and are made to handle outdoor conditions, but it will require some maintenance and care in the winter months to keep the area around the station clear
21. Would the EV charging station need to be placed where it would obstruct plowing or in a location where snow is stored in the winter?
Question Weight (within Section) | 10% | Max Points | 2.5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 2.5 | Min Points | 0 |  | 1 | Yes | 0% | 0 | Stations placed in the middle of parking lots are more likely to be hit and can be a hindrance to plowing, but you also don't want the station where snow is piled during winter
Selected Answer | 2 | Selected Points | 2.5 |  | 2 | No | 100% | 2.5 | Proper station placement can help reduce potential damage, maintenance requirements, and ensure access for EV drivers in all weather conditions
Value to EV Drivers | [5 empty] | Maximum Section Possible Points = | 25 | 100 |  |  | Readout | Marker
Section Weight = | 25% |  |  |  |  | Minumum Section Possible Points = | 3.125 | 0 |  | Readout Bar | 60
[6 empty] | Section Actual Points = | 16.25 | 60 |  | Marker |  | 60
Weighted Question Scoring within Criteria Section | [7 empty] | Total | 100%
5. Which venue best describes the proposed EV charging station location? | [8 empty] | 30%
6. How long do drivers typically park their vehicles at this location? | [8 empty] | 20%
9. Which potential EV drivers are expected to use the charging station? | [8 empty] | 10%
10. Would an EV driver require a permit, sticker, or card to access the parking lot where the charging station is located? | [8 empty] | 5%
11. Is there a fee to access the parking lot where the charging station would be located or would there be a fee to use the charging station? | [8 empty] | 10%
12. Would the charging station be located in a parking lot or garage with limited hours of operation? | [8 empty] | 10%
14. Typically, how full is the parking lot or garage? | [8 empty] | 5%
22. Would the EV charging station be in a preferred parking space? | [8 empty] | 5%
23. Are there lights illuminating the parking lot at night? | [8 empty] | 5%
5. Which venue best describes the proposed EV charging station location?
Question Weight (within Section) | 30% | Max Points | 7.5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 7.5 | Min Points | 1.875 |  | 1 | Business/Office | 75% | 5.625 | This is a good location for employees of a business or office, but use by visitors would depend on the type of client served by that organization
Selected Answer | 1 | Selected Points | 5.625 |  | 2 | Educational Services | 100% | 7.5 | Higher education campuses employ staff that are likely EV drivers and host events that typically draw large crowds. Campuses with multiple parking lots that have different purposes should prioritize EV spaces for staff or visitors (not students)
[5 empty] | 3 | Hotel | 50% | 3.75 | A hotel guest's EV would be parked here for an extended time and be valuable for them to get a full charge while away from home, but use by visitors would depend on the type of client that typically books a room here and whether the hotel also caters to conferences or events during the day.
5B. If this is parking, retail, entertainment, restaurant, or other, how many individual venues (e.g., shops or businesses) are within 500 feet of this location? |  |  |  |  | 4 | Medical Facility | 100% | 7.5 | Medical facility employees fit the typical profile of EV drivers, and patients that regularly visit a location for treatment might also utilize charging
[5 empty] | 5 | Park/Recreational Facility | 50% | 3.75 | Environmentally conscious EV drivers may visit these venues, but use will depend on the number of facilities and activities at each location that may be seasonal (e.g., pool) and may be concentrated in evenings and weekends
[5 empty] | 6 | Multi-Dwelling Units | 50% | 3.75 | Multi-dwelling unit residents do not likely have their own garage or parking stall with power available to install a personal charger, so a landloard might provide a public charger as an offered ammenity to attract EV drivers that require an overnight charging option.
Answer |  | Extra Point Distribution | Extra Point Value |  | 7 | Transportation Hub | 75% | 5.625 | Park and Ride lots for trains or buses have consistent users and clientele interested in low-emission transportation modes, while EV drivers using air transport likely want to have a fully-charged car when they return.
1 - 5 other venues |  | 25% | 1.875 | 1 - 5 other venues | 8 | Municipal Parking | 50% | 3.75 | Many municipal parking lots offer access to a variety of downtown locations that an EV driver may visit and is likely to be used during the day and in the evening
6 - 10 other venues |  | 37.5% | 2.8125 | 6 - 10 other venues | 9 | On-street Parking | 25% | 1.875 | Downtown on-street parking offers access to a variety of locations that an EV driver may visit, but the orientation of the charger is challenging in parallel spaces and there can also be issues with sourcing the power, vandalism, and obstructing pedestrian walkways
10+ other venues |  | 50% | 3.75 | 10+ other venues | 10 | Retail Outlet | 50% | 3.75 | Retail outlets with multiple stores within walking distance (e.g., mall) will serve more potential EV drivers than just a single store location and use will depend on the typical length of time a shopper spends at that location
|  | Selected Points | #N/A |  | 11 | Entertainment Facility | 50% | 3.75 | During events there can be large crowds at entertainment venues which would likely include EV drivers, but use would be inconsistent due to the fluctuations of crowds and EV users
[5 empty] | 12 | Restaurant | 25% | 1.875 | Most eating experiences are shorter than the required time to charge an EV and would only be used at certain times during the day, but if the restaurant was around other retail businesses, there could be options for the EV driver to stay parked longer
[5 empty] | 13 | Other | 25% | 1.875 | Most optimal venues for installing charging stations are specifically listed here, but there could be additional locations where EV drivers might park long enough to obtain a worthwhile charge
6. How long do drivers typically park their vehicles at this location?
Question Weight (within Section) | 20% | Max Points | 5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 5 | Min Points | 0 |  | 1 | Less than 1 hour | 0% | 0 | This is likely too short of a charging period to provide value to the EV driver, since most AC Level 2 stations provide only 10 miles of added electrical range per hour
Selected Answer | 2 | Selected Points | 2.5 |  | 2 | 1 - 2 hours | 50% | 2.5 | Most AC Level 2 stations will provide less than 20 miles of additional electrical range during this period which may be valuable for some EV drivers, but likely still too short for many
[5 empty] | 3 | 2 - 4 hours | 100% | 5 | This is a good duration to charge for most EV drivers; with PHEVs likely obtaining a full charge and BEVs able to get a substantial charge away from home
[5 empty] | 4 | 4 - 8 hours | 75% | 3.75 | This is the optimal duration of charging for EV drivers with most BEVs able to fully charge, however EVs coming from a short distance away might occupy the station longer than they need to charge
[5 empty] | 5 | More than 8 hours | 75% | 3.75 | This is a longer duration than most EVs require to obtain a full charge with an AC Level 2 station (AC Level 1 might be a better fit), so unless the EV can move or the cord can be shared with another parking space, this an AC Level 2 station will be occupied longer than necessary
9. Which potential EV drivers are expected to use the charging station?
Question Weight (within Section) | 10% | Max Points | 2.5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 2.5 | Min Points | 0.625 |  | 1 | Employees | 100% | 2.5 | Employees park at the same location every workday and may be encouraged to purchase an EV and become a regular user of the charging station
Selected Answer | 3 | Selected Points | 0.625 |  | 2 | Visitors | 50% | 1.25 | Visitors or clients may fit a demographic typical of EV drivers and be a regular patron of a business which could lead to regular use of the charging station
[5 empty] | 3 | General Public | 25% | 0.625 | Stations accessible to the general public would likely see the most fluctuation in use and not serve any individual EV drivers on a regular basis
[5 empty] | 4 | All | 75% | 1.875 | Stations accessible to employees, visitors, and the general public serve the widest range of EV drivers and would likely see good utilization, although it may be over-used and prohibit some from using the station
10. Would an EV driver require a permit, sticker, or card to access the parking lot where the charging station is located?
Question Weight (within Section) | 5% | Max Points | 1.25 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 1.25 | Min Points | 0 |  | 1 | Yes | 0% | 0 | These requirements could hinder station use by visitors or the general public, but could be a valuable way to manage station use by employees
Selected Answer | 2 | Selected Points | 1.25 |  | 2 | No | 100% | 1.25 | Visitors or the general public will use a station more when there aren't additional restrictions, but it might also allow non-employees to use stations designed for only their use
11. Is there a fee to access the parking lot where the charging station would be located or would there be a fee to use the charging station?
Question Weight (within Section) | 10% | Max Points | 1.25 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 2.5 | Min Points | 0.625 |  | 1 | Only a fee for parking lot access | 25% | 0.625 | Additional costs to access the charging station parking space could hinder station use by an EV driver that needs a charge
Selected Answer | 4 | Selected Points | 2.5 |  | 2 | Only a fee for station use | 50% | 1.25 | EV drivers recognize that there is a cost for the electricity to charge their battery, but if the fee greatly exceed the cost to charge at home, they will choose not to charge unless it is necessary
[5 empty] | 3 | Fee for both access and station use | 0% | 0 | Costs to access and use the station will limit station use by the general public, but EV drivers that already use the garage will pay a reasonable cost for using the parking space and getting a charge
[5 empty] | 4 | No fee | 100% | 2.5 | Visitors or the general public will use a station more when there are no costs to access or use the station and the host might find that the benefit of attracting EV drivers is more valuable than collecting fees
12. Would the charging station be located in a parking lot or garage with limited hours of operation?
Question Weight (within Section) | 10% | Max Points | 2.5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 2.5 | Min Points | 0 |  | 1 | Yes | 0% | 0 | Additional restrictions to access the charging station parking space could prevent station use by an EV driver that needs a charge
Selected Answer | 2 | Selected Points | 2.5 |  | 2 | No | 100% | 2.5 | Visitors or the general public will use a station more when there aren't additional restrictions to access the station
14. Typically, how full is the parking lot or garage?
Question Weight (within Section) | 5% | Max Points | 1.25 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 1.25 | Min Points | 0 |  | 1 | 25% | 0% | 0 | Low occupancy indicates that conventional vehicles should have plenty of places to park and not occupy the charging space, but may also mean that the location is not a desirable place to park
Selected Answer | 4 | Selected Points | 0 |  | 2 | 50% | 50% | 0.625 | Lower occupancy indicates that conventional vehicles should have plenty of places to park and not occupy the charging space, and may have availability to reserve extra spaces for EVs waiting to charge
[5 empty] | 3 | 75% | 100% | 1.25 | Less than capacity occupancy indicates that conventional vehicles should still have places to park and not occupy the charging spaces, while still being a popular place for drivers to park
[5 empty] | 4 | 100% | 0% | 0 | Parking lots that experience full capacity have a greater likelihood that conventional cars would park in charging spaces or become aggravated that charging spaces are empty and taking up valuable space
22. Would the EV charging station be in a preferred parking space?
Question Weight (within Section) | 5% | Max Points | 1.25 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 1.25 | Min Points | 0 |  | 1 | Yes | 100% | 1.25 | EV charging stations in preferred parking spaces increase exposure and have an added benefit to EV drivers, but the installation costs may increase if electricity has to be run a longer distance
Selected Answer | 2 | Selected Points | 0 |  | 2 | No | 0% | 0 | To reduce costs, the charging station might be placed along the side or in back of the building, but that be inconvenient to the EV driver and harder to find if there isn't good signage
23. Are there lights illuminating the parking lot at night?
Question Weight (within Section) | 5% | Max Points | 1.25 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 1.25 | Min Points | 0 |  | 1 | Yes | 100% | 1.25 | A lit parking lot is safer for EV drivers to use at night and there may be potential for using the same electric source powering the lights for AC Level 1 charging
Selected Answer | 1 | Selected Points | 1.25 |  | 2 | No | 0% | 0 | If charging will primarily occur during the day, lights are not essential, but lighting is a nice amenity that encourages charging station use any time the EV drivers need a charge
Marketing & Image | [5 empty] | Maximum Section Possible Points = | 25 | 100 |  |  | Readout | Marker
Section Weight = | 25% |  |  |  |  | Minumum Section Possible Points = | 0 | 0 |  | Readout Bar | 59
[6 empty] | Section Actual Points = | 14.75 | 59 |  | Marker |  | 59
Weighted Question Scoring within Criteria Section | [7 empty] | Total | 100%
7. Is this location used for any special event parking? | [8 empty] | 25%
8. How far is this location from a busy road used to travel between cities (typically an interstate, US highway, or State route)? | [8 empty] | 20%
15. Is there fluctuation in parking lot use by season? | [8 empty] | 20%
16. Is there fluctuation in parking lot use by day of the week? | [8 empty] | 10%
24. Would the EV charging station and parking space be visible from the road or entrance to the parking lot or garage? | [8 empty] | 25%
7. Is this location used for any special event parking?
Question Weight (within Section) | 25% | Max Points | 3.125 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 6.25 | Min Points | 0 |  | 1 | Yes | 50% | 3.125 | Special events provide significant exposure to the charging station and may draw EV drivers interested in charging, but the events might attract more EVs than available charging ports
Selected Answer | 2 | Selected Points | 0 |  | 2 | No | 0% | 0 | There will be no increased exposure of the charging station for special events, but charging station use is typically influenced more by regular users than occasional users
7B. Approximately how many special events per year?
Question Weight (within Section) | Based on Q7 | Max Points | 3.125 |  |  |  | Answer | Value | Point Distribution | Point Value
Question Value | 6.25 | Min Points | 0.3125 |  |  |  | 0 - 25 | 1 | 5% | 0.3125 | 0 - 25
Selected Answer | #N/A | Selected Points | 0 |  |  |  | 25 - 50 | 2 | 12.5% | 0.78125 | 25 - 50
[7 empty] | 50 - 75 | 3 | 25% | 1.5625 | 50 - 75
[7 empty] | 75 - 100 | 4 | 37.5% | 2.3438 | 75 - 100
[7 empty] | More than 100 | 5 | 50% | 3.125 | More than 100
8. How far is this location from a busy road used to travel between cities (typically an interstate, US highway, or State route)?
Question Weight (within Section) | 20% | Max Points | 5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 5 | Min Points | 0 |  | 1 | On a State Road | 100% | 5 | This location would likely be very convenient for and provide good exposure to many EV drivers traveling between cities
Selected Answer | 5 | Selected Points | 1 |  | 2 | 0.1 - 0.5 miles | 80% | 4 | This location would likely still be convenient for EV drivers traveling between cities, but may not provide as good exposure
[5 empty] | 3 | 0.6 - 1.0 miles | 60% | 3 | This location would likely be slightly less convenient for and have less exposure to EV drivers traveling between cities
[5 empty] | 4 | 1 - 2 miles | 40% | 2 | This location would likely be less convenient for and have less exposure to EV drivers traveling between cities
[5 empty] | 5 | 2 - 5 miles | 20% | 1 | This location would likely be significantly less convenient for and have much less exposure to EV drivers traveling between cities
[5 empty] | 6 | More than 5 miles | 0% | 0 | This location would likely not be convenient for and have no exposure to EV drivers traveling between cities
15. Is there fluctuation in parking lot use by season?
Question Weight (within Section) | 20% | Max Points | 5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 5 | Min Points | 0 |  | 1 | Minimal fluctuation | 100% | 5 | Consistent use of the parking lot or garage will likely lead to regular charging station users and good exposure to others
Selected Answer | 1 | Selected Points | 5 |  | 2 | Some fluctuation | 75% | 3.75 | If a parking lot experiences some use throughout the year, it will be exposed to many drivers and likely be used regularly by EV drivers to charge
[5 empty] | 3 | A lot of fluctuation | 0% | 0 | Seasonal venues that have minimal use during certain months will have more limited exposure to the public and experience inconsistent station use that is hard to manage
16. Is there fluctuation in parking lot use by day of the week?
Question Weight (within Section) | 10% | Max Points | 2.5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 2.5 | Min Points | 0 |  | 1 | Minimal fluctuation | 100% | 2.5 | Consistent use of the parking lot or garage will likely lead to regular charging station users and good exposure to others
Selected Answer | 1 | Selected Points | 2.5 |  | 2 | Some fluctuation | 75% | 1.875 | If a parking lot experiences some use throughout the week, it will be exposed to many drivers and likely be used regularly by EV drivers to charge
[5 empty] | 3 | A lot of fluctuation | 0% | 0 | Parking lots or garages used only on weekends or weekdays will experience inconsistent use which is hard to manage and has less exposure to the public
24. Would the EV charging station and parking space be visible from the road or entrance to the parking lot or garage?
Question Weight (within Section) | 25% | Max Points | 6.25 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 6.25 | Min Points | 0 |  | 1 | Yes | 100% | 6.25 | An easily visible charging station is valuable by increasing exposure to all drivers and helps EV drivers locate it easily when they need a charge, however it is still good practice to identify the station with signage
Selected Answer | 1 | Selected Points | 6.25 |  | 2 | No | 0% | 0 | If a charging station is not easily visible there is no added exposure to the general public and signage will be needed to direct EV drivers to the location
Installation Costs | [5 empty] | Maximum Section Possible Points = | 16.6667 | 100 |  |  | Readout | Marker
Section Weight = | 16.67% |  |  |  |  | Minumum Section Possible Points = | 0 | 0 |  | Readout Bar | 85
[6 empty] | Section Actual Points = | 2.5 | 15 |  | Marker |  | 85
Weighted Question Scoring within Criteria Section | [7 empty] | Total | 100%
17. Would the EV charging station be mounted on the wall of a building where the cord could run to the EV and not interfere with a pedestrian walkway? | [8 empty] | 40%
25. Does the existing electrical panel have 4 extra slots and 80 amps of available capacity for a dual port Level 2 charging station? | [8 empty] | 30%
26. How recently has major electrical work been performed at this location? | [8 empty] | 10%
27. How far is the electrical panel from the point of the building closest to where the charging station would be located? | [8 empty] | 20%
17. Would the EV charging station be mounted on the wall of a building where the cord could run to the EV and not interfere with a pedestrian walkway?
Question Weight (within Section) | 40% | Max Points | 3.3333 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 6.6667 | Min Points | 0 |  | 1 | Yes | 0% | 0 | Installation costs can be significantly lower if the EV charging station can be mounted on a building and no trenching in a parking lot is required
Selected Answer | 1 | Selected Points | 0 |  | 2 | No | 50% | 3.3333 | Installing an EV charging station out in a parking lot will require trenching and repair, along with a foundation to mount on, which increases the costs
Question Weight (within Section) | Based on Q17 | Max Points | 1.6667 |  |  |  | Answer | Value | Point Distribution | Point Value
Question Value | 6.6667 | Min Points | 0.41667 |  |  |  | Less than 50 feet | 1 | 6.25% | 0.41667 | Less than 50 feet
Selected Answer | #N/A | Selected Points | 0 |  |  |  | 50 - 100 feet | 2 | 12.5% | 0.83333 | 50 - 100 feet
[7 empty] | 100 - 200 feet | 3 | 19.75% | 1.3167 | 100 - 200 feet
[7 empty] | More than 200 feet | 4 | 25% | 1.6667 | More than 200 feet
18. Is the parking lot paved?
Question Weight (within Section) | Based on Q17 | Max Points | 1.6667 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 6.6667 | Min Points | 0 |  | 1 | Yes | 25% | 1.6667 | Trenching and repairing a paved parking lot for a charging station placed away from a building is more costly
Selected Answer | 1 | Selected Points | 0 |  | 2 | No | 0% | 0 | Trenching and repairing an unpaved parking lot for a charging station placed away from a building is easier and less costly
25. Does the existing electrical panel have 4 extra slots and 80 amps of available capacity for a dual port Level 2 charging station?
Question Weight (within Section) | 30% | Max Points | 5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 5 | Min Points | 0 |  | 1 | Yes | 0% | 0 | Breakers, conduit, and wire will all be needed for the installation, but costs will be lower without needing any electrical panel upgrades
Selected Answer | 3 | Selected Points | 2.5 |  | 2 | No | 100% | 5 | A subpanel may need to be added to accommodate the two additional 240VAC breakers required for a dual port charging station, but increasing electrical capacity would require a costly upgrade from the utility
[5 empty] | 3 | Don't Know | 50% | 2.5 | Most commercial buildings will have the available electrical capacity for one dual port Level 2 charging station, but a subpanel may be needed if there aren't available slots in the panel for more breakers
26. How recently has major electrical work been performed at this location?
Question Weight (within Section) | 10% | Max Points | 1.6667 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 1.6667 | Min Points | 0 |  | 1 | Within 10 years | 0% | 0 | The existing electrical system should be up to code and no additional electrical infrastructure cost should be required when adding the charging station
Selected Answer | 1 | Selected Points | 0 |  | 2 | Within 20 years | 50% | 0.83333 | It is possible that some minor electrical work may be required to bring the existing electrical system up to code when adding the charging station
[5 empty] | 3 | More than 20 years ago | 100% | 1.6667 | It is possible that some major electrical work may be required to bring the existing electrical system up to code when adding the charging station
[5 empty] | 4 | Don't Know | 0% | 0 | Please answer question 26B regarding the age of the building to the best of your knowledge
26B. How old is the building where the charging station electricity will come from?
Question Weight (within Section) | Based on Q26 | Max Points | 1.6667 |  |  |  | Answer | Value | Point Distribution | Point Value
Question Value | 1.6667 | Min Points | 0 |  |  |  | 0 - 10 years old | 1 | 0% | 0 | 0 - 10 years old
Selected Answer | #N/A | Selected Points | 0 |  |  |  | 10 - 20 years old | 2 | 25% | 0.41667 | 10 - 20 years old
[7 empty] | 20 - 30 years old | 3 | 50% | 0.83333 | 20 - 30 years old
[7 empty] | 30 - 40 years old | 4 | 75% | 1.25 | 30 - 40 years old
[7 empty] | More than 40 years old | 5 | 100% | 1.6667 | More than 40 years old
27. How far is the electrical panel from the point of the building closest to where the charging station would be located?
Question Weight (within Section) | 20% | Max Points | 1.6667 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 3.3333 | Min Points | 0 |  | 1 | Fewer than 10 feet | 0% | 0 | Short electrical runs require less materials and are easier to install which results in low costs
Selected Answer | 1 | Selected Points | 0 |  | 2 | 10 - 50 feet | 25% | 0.83333 | Shorter electrical runs require less materials and are easier to install which results in lower costs
[5 empty] | 3 | 50 - 100 feet | 50% | 1.6667 | Longer electrical runs require more materials and may need to pass through some walls that results in higher costs
[5 empty] | 4 | More than 100 feet | 100% | 1 | Long electrical runs require more materials, may need to pass through multiple walls, and could need larger wire or a subpanel that results in high costs
Station Costs | [5 empty] | Maximum Section Possible Points = | 8.3333 | 100 |  |  | Readout | Marker
Section Weight = | 8.333% |  |  |  |  | Minumum Section Possible Points = | 0 | 0 |  | Readout Bar | 40
[6 empty] | Section Actual Points = | 5 | 60 |  | Marker |  | 40
Weighted Question Scoring within Criteria Section | [7 empty] | Total | 100%
28. Which EV charging station type would be installed at this location? | [8 empty] | 30%
29. Could the EV charging station be mounted to an existing structure or be installed as a stand-alone pedestal? | [8 empty] | 40%
30. Would the charging station be networked and connected to a charging management company's software platform? | [8 empty] | 30%
28. Which EV charging station type would be installed at this location?
Question Weight (within Section) | 30% | Max Points | 2.5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 2.5 | Min Points | 0 |  | 1 | AC Level 2 | 100% | 2.5 | AC Level 2 charging stations, which operate on 240 VAC and result in 10 to 20 miles of added electrical range per hour of charging time, are most appropriate when EVs park for 1-4 hours
Selected Answer | 1 | Selected Points | 2.5 |  | 2 | AC Level 1 | 0% | 0 | AC Level 1 charging stations, which operate on 120 VAC and result in 2 to 5 miles of added electrical range per hour of charging time, are a simple lower-cost options for EVs parked for more than 6 hours
29. Could the EV charging station be mounted to an existing structure or be installed as a stand-alone pedestal?
Question Weight (within Section) | 40% | Max Points | 3.3333 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 3.3333 | Min Points | 0 |  | 1 | Mounted on an Existing Structure | 0% | 0 | Mounting the charging station on an existing structure can lower the purchase and installation costs, but the structure must be sturdy enough and located in a convenient location close to the parking space
Selected Answer | 1 | Selected Points | 0 |  | 2 | Stand-alone Pedestal | 100% | 3.3333 | A charging station pedestal is slightly more expensive to purchase and must be secured to a sturdy concrete foundation which might need to be poured during the installations
30. Would the charging station be networked and connected to a charging management company's software platform?
Question Weight (within Section) | 30% | Max Points | 2.5 |  | Value | Answer | Point Distribution | Point Value | Comments for User
Question Value | 2.5 | Min Points | 0 |  | 1 | Networked | 100% | 2.5 | A networked station can lock the connector when not in use, monitor use, impose a fee for charging, notify the owner of issues, and automatically appears on station locator maps, but requires an annual subscription
Selected Answer | 1 | Selected Points | 2.5 |  | 2 | Non-networked | 0% | 0 | A non-networked station has no annual subscription cost, but also no added features, so it can't impose a fee to use the station and will not notify the host of any issues. There are energy monitoring devices that can be used for collecting data on station energy use which have an initial cost, but no annual networking fee.
Note on I124: broy: Note that this is dependant on the answer to question 9
Note on I125: broy: Note that this is dependant on the answer to question 9

## Summary (hidden)
Electric Vehicle (EV) Charging Station Site Suitability Criteria Tool
1. How important are the following factors to the site owner for an EV charging station installation? | Response | Result
Likely to be used by Current EV Drivers: | 3 | Important
Marketing for Potential EV Buyers: | 3 | Important
Positive Image for the Organization: | 3 | Important
Purchase and Installation Cost: | 3 | Important
2. Do you own or lease the parking lot where the EV charging station will be installed? | 1 | Own
3. Do you own or lease the building where electricity will be drawn for the EV charging station? | 1 | Own
4. What is the predominant land use for the EV charging station site? | 2 | Business
5. Which venue best describes the proposed EV charging station location? | 1 | Business/Office
5B. If this is parking, retail, entertainment, restaurant, or other, how many individual venues (e.g., shops or businesses) are within 500 feet of this location? | #N/A | #N/A
6. How long do drivers typically park their vehicles at this location? | 2 | 1 - 2 hours
7. Is this location used for any special event parking? | 2 | No
7B. Approximately how many special events per year? | #N/A | #N/A
8. How far is this location from a busy road used to travel between cities (typically an interstate, US highway, or State route)? | 5 | 2 - 5 miles
9. Which potential EV drivers are expected to use the charging station? | 3 | General Public
10. Would an EV driver require a permit, sticker, or card to access the parking lot where the charging station is located? | 2 | No
11. Is there a fee to access the parking lot where the charging station would be located or would there be a fee to use the charging station? | 4 | No fee
12. Would the charging station be located in a parking lot or garage with limited hours of operation? | 2 | No
13. How many parking spaces are in the lot or garage? | 4 | More than 50
14. Typically, how full is the parking lot or garage? | 4 | 1
15. Is there fluctuation in parking lot use by season? | 1 | Minimal fluctuation
16. Is there fluctuation in parking lot use by day of the week? | 1 | Minimal fluctuation
17. Would the EV charging station be mounted on the wall of a building where the cord could run to the EV and not interfere with a pedestrian walkway? | 1 | Yes
| #N/A | #N/A
18. Is the parking lot paved? | 1 | Yes
19. Is the parking lot prone to flooding or other events that might damage a charging station or plugged-in EV? | 2 | No
20. Would the EV charging station be located in a covered parking space? | 1 | Yes
21. Would the EV charging station need to be placed where it would obstruct plowing or in a location where snow is stored in the winter? | 2 | No
22. Would the EV charging station be in a preferred parking space? | 1 | Yes
23. Are there lights illuminating the parking lot at night? | 1 | Yes
24. Would the EV charging station and parking space be visible from the road or entrance to the parking lot or garage? | 1 | Yes
25. Does the existing electrical panel have 4 extra slots and 80 amps of available capacity for a dual port Level 2 charging station? | 3 | Don't Know
26. How recently has major electrical work been performed at this location? | 1 | Within 10 years
26B. How old is the building where the charging station electricity will come from? | #N/A | #N/A
27. How far is the electrical panel from the point of the building closest to where the charging station would be located? | 1 | Fewer than 10 feet
28. Which EV charging station type would be installed at this location? | 1 | AC Level 2
29. Could the EV charging station be mounted to an existing structure or be installed as a stand-alone pedestal? | 1 | Mounted on an Existing Structure
30. Would the charging station be networked and connected to a charging management company's software platform? | 1 | Networked